## Slide 1: High-throughput and Adaptive Feedback Microscopy
Christian Tischer, Sabine Reither, Volker Hilsenstein, Beate Neumann, Rainer Pepperkok
Advanced Light Microscopy Facility, EMBL Heidelberg
Meyerhofstr.1, 69117 Heidelberg, Germany
High-throughput microscopy of siRNA treated cells has become a standard tool for discovering genes with roles in specific biological processes. However, conducting high-throughput microscopy experiments is still challenging as it puts high demands on sample preparation, microscopy, image and data analysis. Moreover, further characterization of the “hit genes” often requires demanding microscopic assays that are difficult to perform even in medium throughput. In this talk, I will outline the typical challenges occurring in high-throughput microscopy and discuss how dedicated microscope systems can help to tackle these challenges. In addition, I will describe how “adaptive feedback microscopy” allows scientist to perform highly complex microscopic assays in a fully automated manner, thereby enabling detailed and systematic further investigation of the identified “hit genes”.

## Slide 2
Advanced Light Microscopy Facility (ALMF) at EMBL Heidelberg, Germany
Advanced Light Microscopy
High-Throughput Microscopy
Rainer Pepperkok
Christian Tischer
Beate Neumann
Stefan Terjung
Volker Hilsenstein
Marko Lampe
Head of Facility
Sabine Reither
Aliaksandr Halavatyi
Tobias Rasse
Since 1998 serving EMBL scientists and international visitors

## Slide 3: A ‘typical’ HT-microscopy screen
Biological process
Find novel genes
Bioinformatic filter
~500 putative genes
~1500 siRNAs (3 per gene)
~54 96-well plates (3 replicates)
~40000 images
20x lens
2 channels
4 positions per well
Image analysis of
~4 million cells
List of “hit” genes
?
!
Statistics

## Slide 4: Microscope System Considerations
Invited by

## Slide 5: Auto-focus Modalities
“Software” autofocus
Fluorescence z-stack imaging finding highest contrast plane
“Hardware” autofocus
Finding coverslip surface reflection using far-red light
Can be fast: <<1s
fixed offset
Pro:
Can deal with samples at different z-positions
Con:
Slow (>>1s)
Not good for sample (bleaching)
Can get confused if objects are in multiple planes
Pro:
Fast (<<1s)
Good for sample
Con:
Requires constant sample z-position
Requires presence of reflective surface
“Software” autofocus
Fluorescence z-stack imaging finding highest contrast plane
Typically (much) slower
Bleaching of the sample
Notes: Pro:
Can deal with samples at different z-positions
Con:
Slow (>>1s)
Not good for sample (bleaching)
Can get confused if objects are in multiple planes
Pro:
Faster (<<1s)
Better for sample
Con:
Requires constant sample z-position
Requires presence of reflective surface

## Slide 6: Multi-color Imaging Modalities
Faster, no crosstalk
Filter cube
>100 ms
Halogen
lamp
~100ms
Emission filter wheel >10 ms
Multi-band dichroic
LED
~ 0 s
~100ms
LED
~ 0 s
Multi-band emission filter
Multi-band dichroic
Crosstalk?!
~100ms
Simultaneous imaging for fastest speeds
$$
LED
~ 0 s
Multi-band dichroic
Crosstalk?!

## Slide 7: Sample mounting
Interphase
Mitosis
GFP-Tubulin
Merge
Hb2-mCherry
Zeiss CellDiscoverer 7, 40x magnification, NA0.7
Imaged through 1mm plastic bottom
Plate bottom | Cell growth | Price | Imaging quality
Plastic | + | ~2 $ | o,+
Glass | o | ~10 $ | ++

## Slide 8: Multi-well Transmission Imaging
Condenser lens
!
Brightfield contrast
“Phase gradient contrast”
Zeiss CellDiscoverer 7, 5x magnification
!

## Slide 9: Imaging Modality Considerations

## Slide 10: Confocal stacks
z
10 um
Point scanning confocal
Spinning disc confocal
Quite fast (>1s per stack)
but 3-D data
and 3-D analysis
on-the-fly sum projection
10x less data, simpler 2D analysis

## Slide 11: Widefield stack
Widefield NA0.9
Sum projection
z-stack, dz=1 um
Zeiss CellDiscoverer 7 Golgi-GFP, cropped image
10 um
Sum projection after deconvolution

## Slide 12: Wide-field single plane with low NA lens
NA 0.9
NA 0.3
Zeiss CellDiscoverer 7 (adaptable NA)
Hela cell, Golgi-GFP
NA 0.8
80 ms
30% light
NA 0.26
380 ms
80% light
NA 0.35
150 ms
40% light
z
Widefield NA0.3
Whole cell in focus in one single image
z-stack
1um steps
Central plane

## Slide 13: Image analysis, quality control and statistics

## Slide 14: Image analysis, Visual inspection and Statistics
+
+
Gene
Hit
List
+
Image analysis
Visual inspection
Statistics
Integrated solution from one company
Very little IT hassle
Turn-key solutions for some standard assays

## Slide 15: Image analysis, Visual inspection and Statistics
+
+
Different
companies
Tiff images with defined naming scheme (“raw data”)
File conversion and renaming
Linux Compute Cluster
20000 image sets
=> 1000 parallel jobs
20 image sets per job
<1h total analysis time
Segmentation images
+ Table (txt file)
Simple Laptop
‘HTM-Explorer’ R and ImageJ
Gene
Hit
List
+
Carpenter et al, (2006) CellProfiler: image analysis software for identifying and quantifying cell phenotypes. Genome Biology 7

## Slide 16: List of interesting genes … and now?
Most interesting gene => PhD project
Bio-informatic network analysis
High-content ‘secondary’ screens
High-resolution time-lapse
Fluorescence recovery after photo-bleaching (FRAP)
Fluorescence cross correlation spectroscopy (FCS)
Systematically performing such high-content experiments often strongly benefits from “Adaptive Feedback Microscopy”

## Slide 17: Adaptive Feedback Microscopy Intelligent Microscopy Smart Microscopy Open Application Development (OAD) [Zeiss]
Todo:
add references
Look for more synonyms
Adapted settings
Analyze data
Conrad et al., Nature Methods (2011)
Tischer et al., Methods Cell Biol. (2014)
Scherf & Huisken, Nature Biotechnology (2015)

## Slide 18: Adaptive Feedback for High-resolution Time-lapse Imaging
Move to pre-defined position
Acquire low-res image
x=150 y=80
Zoom in on target object
Acquire high-content data
x, y
H2B-mCherry (DNA)
single plane
Find mitotic cell by automated analysis
Conrad et al., Nature Methods (2011)

## Slide 19
Todo:
add references
Look for more synonyms
Zeiss ZEN Blue (e.g., LSM 800, CellDiscoverer 7)
Python Programming Interface
ImageJ
CellProfiler
CellCognition
Zen Blue Image Analysis Modules

## Slide 20
Todo:
add references
Look for more synonyms
Zeiss AIM (LSM 510)
Zeiss ZEN Black (e.g., LSM 780, LSM 880)
Visual Basic Programming Interface
[1] Rabut and Ellenberg, Automatic real-time three-dimensional cell tracking by fluorescence microscopy. J. Microscopy, 2004
ImageJ
CellProfiler
CellCognition
Custom written visual basic
“Pipeline constructor” [1]
(Antonio Politi, Jan Ellenberg)

## Slide 21
Automated FRAP Microscopy on ER Exit Sites
Zeiss LSM780
Visual Basic
ImageJ
Move to next grid position
Tischer et al., Adaptive Feedback Microscopy (2014) Methods in Cell Biology
Halavatyi et al., High-throughput Microscopy (2016) GIT Imaging and Microscopy
Aliaksandr Halavatyi

## Slide 22
Leica confocal
Zeiss confocal
[1] Wachsmuth et al., High-throughput microscopy fluorescence correlation spectroscopy… (2014) Nature Biotechnology
[2] Conrad et al., MicroPilot: Automation of fluorescence microscopy … (2011) Nature Methods
Micropilot
ImageJ/Fiji
I(t)
t
For each coordinate: acquire 30s FCCS
Move to next grid position
Leica CAM Visual Basic
Tested 53 proteins for chromatin interaction [1].
=> For each protein:
~ 1100 FCS measurements
in 189 cells
Automated FCCS screening of chromatin interaction of EYFP-tagged proteins, using Histone H2B-mCherry as a chromatin marker.

## Slide 23: FRAP and FCS => high resolution => high NA => immersion lenses
~ 13 cm
96-well imaging plate
Automated immersion
(oil and water)

## Slide 24
Current Industrial Partners (in alphabetical order)

## Slide 25
Thank you for your attention!
Thanks to Zeiss for the invitation!
Acknowledgements
ALMF team:
Beate Neumann
Sabine Reither
Volker Hilsenstein
Aliaksandr Halavatyi
Tobias Rassse
Stefan Terjung
Rainer Pepperkok
Ellenberg Team:
Antonio Politi
Jan Ellenberg
Green: actin cytoskeleton
Red: nucleus
Cells treated with PDGF

## Slide 26
Additional slides, kicked out to stay in time

## Slide 27: Environmental control
37C ?!
37C ?!
37C ?!
Zeiss CellDiscoverer 7, H2B-mCherry
10x every 30min, 48h
38C => visible mitotic defects
(e.g., increased mitotic index and micro-nuclei formation)
Cropped and enlarged view on above movie

## Slide 28
Completed HT-microscopy projects with ALMF support
Protein secretion / membrane
trafficking / organelle organisation
Simpson et al., Nat Cell Biol. 2012
DNA repair
Gudjonsson et al., Cell 2012
Lukas et al., Nat Cell Biol. 2011
Doyle et al., Cell. 2009
Plasma membrane targeting
Ritzerfeld et al., Genome Research 2011
Neumann et al., Nature 2010
Cell division
Cholesterol metabolism
Cystic Fibrosis
Almaca et al., Cell 2013
Bartz et al, Cell Metab. 2009
Blattmann et al., PloS Genet 2013
Boni et al. J Cell Biol 2015
Inner membrane nuclear targeting
Notes: RNAi microarrays are Here you can see the summary of projects using RNAi microarrays.
All projects labelled in red were genome-wide screens.
These RNAi microarrays can be used for many different assays types as shown here.