## Slide 1: High-throughput and Adaptive Feedback Microscopy
Christian Tischer, Sabine Reither, Volker Hilsenstein, Beate Neumann, Rainer Pepperkok
Advanced Light Microscopy Facility, EMBL Heidelberg
Meyerhofstr.1, 69117 Heidelberg, Germany
High-throughput microscopy of siRNA treated cells has become a standard tool for discovering genes with roles in specific biological processes. However, conducting high-throughput microscopy experiments is still challenging as it puts high demands on sample preparation, microscopy, image and data analysis. Moreover, further characterization of the “hit genes” often requires demanding microscopic assays that are difficult to perform even in medium throughput. In this talk, I will outline the typical challenges occurring in high-throughput microscopy and discuss how dedicated microscope systems can help to tackle these challenges. In addition, I will describe how “adaptive feedback microscopy” allows scientist to perform highly complex microscopic assays in a fully automated manner, thereby enabling detailed and systematic further investigation of the identified “hit genes”.

## Slide 2: Advanced Light Microscopy Facility (ALMF) at EMBL Heidelberg
Headed by Rainer Pepperkok
Around 30 microscope systems
Since 1998 serving EMBL scientists and international visitors

## Slide 3: A ‘typical’ HT-microscopy experiment
Biological question
Bioinformatic filter
~500 genes of interest
~1500 siRNAs (3 per gene)
~54 96-well plates (3 replicates)
~40000 images (2 channels, 4 positions per well)
~4 million cells (~200 cells per position with 20x air lens)

## Slide 4
Biological process
Protein localization dynamics
Which proteins?
Protein-protein
Interaction dynamics
High-throughput Screening Microscopy
“Primary” screen
Protein knockdown by siRNA
Monitor perturbation of biological process in microscopy assay
“Secondary” screen
“Secondary” screen
Notes: You have an assay that tells you whether the process of interest is working and then you look in the presence of siRNAs whether the process is still working.

## Slide 5
Completed HT-microscopy projects with ALMF support
Protein secretion / membrane
trafficking / organelle organisation
Simpson et al., Nat Cell Biol. 2012
DNA repair
Gudjonsson et al., Cell 2012
Lukas et al., Nat Cell Biol. 2011
Doyle et al., Cell. 2009
Plasma membrane targeting
Ritzerfeld et al., Genome Research 2011
Neumann et al., Nature 2010
Cell division
Cholesterol metabolism
Cystic Fibrosis
Almaca et al., Cell 2013
Bartz et al, Cell Metab. 2009
Blattmann et al., PloS Genet 2013
Boni et al. J Cell Biol 2015
Inner membrane nuclear targeting
Notes: RNAi microarrays are Here you can see the summary of projects using RNAi microarrays.
All projects labelled in red were genome-wide screens.
These RNAi microarrays can be used for many different assays types as shown here.

## Slide 6: Microscope system considerations

## Slide 7: Multi-color Imaging Modalities
Filter cubes
hundreds of milliseconds
Halogen light source
fixed
Sample
Emission filter wheel tens of milliseconds
LED
Switching
milliseconds
Multi-band dichroic fixed
Sample
Multi-band emission filter
fixed
LED
Switching
milliseconds
Multi-band dichroic fixed
Fastest, but potential crosstalk
Faster, no crosstalk
Slowest, no crosstalk

## Slide 8: Auto-focus modalities
“Software” autofocus
“Hardware” autofocus
Looks for reflection of (infrared) light from the glass- or plastic-bottom
Modern systems <<1s

## Slide 9: Environmental control
37C ?!
37C ?!
37C ?!
Zeiss CellDiscoverer 7, 10x, every 30min, 48h
H2B-mCherry
38C => visible mitotic defects
(e.g., increased mitotic index and micro-nuclei formation)
Cropped and enlarged view on above movie

## Slide 10: Cell Culture
Fig. 2: Double colour imaging in plastic cell culture plates.
HeLa-Kyoto cell stably expressing H2B-mcherry and GFP-tubulin were cultured in a
plastic cell culture plate from NUNC, fixed and subsequently imaged using a 20x/0.75NA
objective with a magnification changer 2. (A,D) GFP-tubulin, (B,E) H2B-mcherry, (C,F)
overlay image (GFP-tubulin shown in green and H2B-mcherry in red). Scale bar 10 μm.
Interphase
Mitosis
GFP-Tubulin
Merge
DNA (Hb2-mCherry)
Celldiscoverer 7
logo
Picture multi-well plate
Prices for glass-bottom >10$
And plastic-bottom <2$
Plastic bottom:
- Better compatible with some cell culture
Todo: check effective NA=40x/0.75?
$$$

## Slide 11: Edge effects

## Slide 12: Autofocus CellDiscoverer 7
Find Surface
Focus Hold
Focus every time-point and position

## Slide 13: Assay development considerations

## Slide 14: Autophagosome screen
Treatment A
Treatment B
In principle, the total intensity inside all dot-like structures
in each cell is proportional to the amount of protein recruited
to autophagosomes in this cell.

## Slide 15: Acquisition modalities: confocal
z
10 um
Point scanning confocal
Spinning disc confocal
(on-the-fly) sum projection
Accurate but typically too slow
Can be fast enough,
But lots of data
And 3-D analysis

## Slide 16: Acquisition modalities: widefield
Widefield NA0.9
(on-the-fly) deconvolution and sum projection
Hela cell
Golgi-GFP
z-stack, dz=1um
CellDiscoverer 7 Zeiss

## Slide 17: Low NA widefield imaging
NA 0.9
NA 0.3
Hela cell, Golgi-GFP
z-stack, 1um steps
CellDiscoverer 7, Zeiss
NA 0.8
80 ms
30% light
NA 0.26
380 ms
80% light
z
NA 0.35
150 ms
40% light
Widefield NA0.3
Single image, everything in focus

## Slide 18: Advice
High-throughput screening microscopy is not about pretty 3-D pictures but about fast and manageable measurements.
Typical: 100x Oil lens confocal z-stacks => Single plane 20x Air lens

## Slide 19: Multi-well Transmission Imaging
Condenser lens
!
Brightfield contrast
“Phase gradient contrast”
CellDiscoverer 7, 5x magnification
!

## Slide 20: Low NA Transmission Imaging
Image without shadows
Image without shadows
Condenser Aperture
Celldiscoverer 7
logo

## Slide 21: What to measure
Mean vs Sum
Cell cycle example

## Slide 22: Secondary Screens

## Slide 23: What to measure
Mean vs Sum
Cell cycle example

## Slide 24: Intelligent Microscopy [Conrad et al.] Adaptive Feedback Microscopy [Tischer et al.] Smart Microscopy [Huisken et al.] Open Application Development (OAD) [Zeiss]
Todo:
add references
Look for more synonyms
Sent new microscope settings
Analyze data to derive adapted microscope settings

## Slide 25: High-resolution Adaptive Feedback Time-lapse Imaging of Mitosis
- Move to next grid position. - Acquire low-zoom, single plane, single channel image
Todo:
make images gray-scale
Add microscope icon
Automated analysis:
Mitotic cell coordinates
x=150 y=80
Microscope:
- Move to x,y - Acquire high-zoom, multi plane, dual color, time lapse data
x, y

## Slide 26
Todo:
add references
Look for more synonyms
ZEN Black
Logo, LSM510 logo
(1) Rabut and Ellenberg, Automatic real-time three-dimensional cell tracking by fluorescence microscopy. J. Microscopy, 2004

## Slide 27
Todo:
add references
Look for more synonyms
ZEN Blue
(1) Rabut and Ellenberg, Automatic real-time three-dimensional cell tracking by fluorescence microscopy. J. Microscopy, 2004
ZEN Blue

## Slide 28
Adaptive FRAP Microscopy
Hundreds of experiments fully automated over night
Zeiss LSM780
Visual Basic
ImageJ
Move to next grid position

## Slide 29: Adaptive FCS Microscopy

## Slide 30: Automated Immersion System
Both FRAP and FCS typically require high NA imaging => Objective Lenses with Immersion

## Slide 31: Image analysis, quality control and statistics

## Slide 33
Acknowledgements
ALMF team:
Beate Neumann
Sabine Reither
Volker Hilsenstein
Yury Belyaev
Stefan Terjung
ALMF alumni
Christian Conrad
Jutta Bulkescher
FCS:
Malte Wachsmuth
Frank Sieckmann (Leica)
Zeiss LSM780 automation:
Gwen Rabut, Annelie Wuensche, Antonio Politi
Jan Ellenberg
Rainer Pepperkok
Green: actin cytoskeleton
Red: nucleus
Cells treated with PDGF

## Slide 36: Adaptive Feedback Microscopy using ZEISS products
Microscope Examples | Zeiss Software | Open Application Development Modality | Image Analysis Modalities
LSM510 confocal (1) LSM780 confocal LSM880 confocal | ZEN Black | Visual Basic scripting with macro recording | Visual Basic or external software
LSM800 confocal CellDiscoverer 7 widefield | ZEN Blue | Python scripting with macro recording | ZEN Blue interal image analysis or external software
(1) Rabut and Ellenberg, Automatic real-time three-dimensional cell tracking by fluorescence microscopy. J. Microscopy, 2004